Mathematic Algorithms for the Calculation of ATC

for the HVDC Phase I/II Transmission Facilities

Schedule 20A

Planning Horizon

ATCF = TTC–TRM –CBM –ETCF

ATCNF = TTC – CBM – TRM-\ETCF - ETCNF

Operating Horizon

ATCF = TTC–TRM –CBM –ETCF

ATCNF = TTC–TRM –CBM –ETCF - ETCNF + PostbackNF

Scheduling Horizon

ATCNF = TTC–TRM –CBM –ETCF - ETCNF + PostbackNF