## Slide 1: Level 4 Application – High Level Process Review
CMP Interconnection Services
Nathan (Nate) Pelletier
Manager, Distribution Interconnections
Nathan.Pelletier@cmpco.com
Keith Radonis
Director, Interconnection Services
Keith.Radonis@cmpco.com
Ryley Leavitt
Lead Analyst, Interconnection Services
Ryley2.leavitt2@cmpco.com
Sarah Glidden
John Jackson
Analyst, Interconnection Services
Sarah.Glidden2@cmpco.com
John.Jackson@cmpco.com

## Slide 2
Pre-Application Report (PAR) – Strongly suggested; not required
  Fee: $300
  Once application and fee received, Pre-app report (PAR) issued within 15 Business Days (BD)
  PAR - includes the 13 listed points of information in Ch. 324:
      Total Capacity (MW) of substation (SS)/area bus or bank and circuit
      Allocated Capacity (MW) of SS/area bus or bank and circuit
      Queued Capacity (MW) of SS/rea bus or bank and circuit
      Available Capacity (MW) of SS/area bus or bank and circuit
      Proposed Generating Facility location: on area, spot, or radial network
      SS nominal distribution voltage or transmission nominal voltage (if applicable)
      Nominal distribution circuit voltage at the proposed site
      Approximate circuit distance between the proposed site and the SS
      Relevant Line Section(s) peak load estimate, and minimum load data, (when available)
      Number of protective devices and voltage regulating devices between the proposed site and the SS.
      Availability of three-phase power at the site or distance from three-phase service
      Limiting conductor rating from proposed Point of Common Coupling to distribution SS
      Based on proposed Point of Common Coupling, existing or known constraints such as, but not limited to, electrical dependencies at that location, short circuit interrupting capacity issues, power quality or stability issues on the circuit, capacity constraints, or secondary networks.
  Also includes FERC/Non-FERC determination
  Based on existing info; No seminal work performed
Pre – App Process
Notes: ME
Level 1 – metering – no charge. If need transformer upgrade, customer pays.
Level 3 is rare
Level 4 – can have significant impact on distribution system. Dairy farm with methane generation, wood pellet business with wood scrap generation
There are timeframes for various tasks in each level – i.e. receipt of application and provide status – five BD in ME; technical screening – 10 BD in ME.

## Slide 3: Pre Application Report Form

## Slide 4
Application Submission
    Application fee of $3,000 (non-refundable)
    Standard application (MPUC Forms and Agreements Form 4)
      Must have unique CMP account number (contact Customer Service to establish one)
      Latitude and Longitude of Point of Interconnection
      Must be signed and dated by owner of CMP account number
      ME PE stamped One Line Diagram
      Site map
      Inverter, battery, and panel manufacturer spec sheets
      Evidence of Site Control as defined in the Rule
    CMP acknowledges receipt of application within 5 Business Days (BD)
    CMP notifies applicant of completeness within 10 BD of receipt
      If incomplete, applicant has 10 BD to submit required info for completeness
      Inverter PSCAD models requested with notification of completeness
    Scoping meeting scheduled within 10 BD of completeness notification unless otherwise agreed to by the parties (but no more than 20 BD)
Level 4 Application Process
Notes: ME
Level 1 – metering – no charge. If need transformer upgrade, customer pays.
Level 3 is rare
Level 4 – can have significant impact on distribution system. Dairy farm with methane generation, wood pellet business with wood scrap generation
There are timeframes for various tasks in each level – i.e. receipt of application and provide status – five BD in ME; technical screening – 10 BD in ME.

## Slide 5
Site Control (as defined in Ch. 324)
    Ownership of, a leasehold interest in, or a right to develop a site for the purpose of constructing the Facility;
    An option to purchase or acquire an easement, a license or a leasehold interest in the site for the purpose of constructing the Facility with an initial term of 12 months from the date of application submission;
    An exclusivity or other business relationship between the Customer and the entity having the right to sell, lease, or grant the Customer the right to possess or occupy a site for the purpose of constructing the Facility; or
    Filed applications for required permits to site the Facility on Federal or State property.
Site Control shall not include letters of intent.
Acceptable documentation of Site Control shall include copies of executed agreements (which may be redacted for commercially sensitive information) or recorded memoranda thereof.
Level 4 Application Process (cont’d)
Notes: ME
Level 1 – metering – no charge. If need transformer upgrade, customer pays.
Level 3 is rare
Level 4 – can have significant impact on distribution system. Dairy farm with methane generation, wood pellet business with wood scrap generation
There are timeframes for various tasks in each level – i.e. receipt of application and provide status – five BD in ME; technical screening – 10 BD in ME.

## Slide 6
Queue Entry
    Once application is considered complete.
    Queue information shall include:
      Queue position
      Any dependencies
      Contingent upgrades
      Municipality where Facility is located
      Substation name
      Fuel type
      Project status
      Circuit name
      Date application request submitted
      Estimated commercial operations date
      Facility capacity
      Feasibility Study – start and completion dates
      Impact Study – start and completion dates
      Facility Study – start and completion dates
      Interconnection Agreement – completion date
      25% payment completion date
    T&D Utility shall publish a report on its website at least twice each calendar month
Scoping Meeting
    Conference call/MS Teams meeting with the Developer & CMP team
    Following meeting, CMP sends email with:
      Scoping meeting notes
      T&C 55 (rates for schedule D & L and queue info)
      CMP bluebook generation guidelines (Schedule B)
    Applicant has 10 BD to determine study type and submit deficiencies identified at meeting
Level 4 Application Process
Notes: ME
Level 1 – metering – no charge. If need transformer upgrade, customer pays.
Level 3 is rare
Level 4 – can have significant impact on distribution system. Dairy farm with methane generation, wood pellet business with wood scrap generation
There are timeframes for various tasks in each level – i.e. receipt of application and provide status – five BD in ME; technical screening – 10 BD in ME.

## Slide 7
Study Selection
  Agreement issued and request for additional info within 5 BD of study selection
  Utility has 15 BD from study selection to provide estimate for study selected
  Applicant has 10 BD from receipt of both agreement and estimate to return the agreement, deposit, and additional info
    Inverter PSCAD models required before the start of any study
  Two Developer options for Study:
    1) Sequential Study (Feasibility followed by System Impact)
      25 BD for Feasibility Study (FS)
        Preliminary review of short circuit currents and coordination/potential overloading of distribution circuit devices
        $1,000 deposit, reconciled at end of the study
      30 BD for Impact Study (IS)
        Load flow study, short circuit study, circuit protection and coordination study, impact of system operations, stability study, voltage collapse study, etc.
        $3,000 deposit, reconciled at end of the study
  2) Combined Study
      45 BD for combined FS/IS
        $3,000 deposit, reconciled at end of the study
  Risk of Islanding screening
    Performed during study phase
    Projects failing screening will undergo a Time Domain Study as part of the SIS process
Level 4 Application Process (cont’d)
Notes: ME
Level 1 – metering – no charge. If need transformer upgrade, customer pays.
Level 3 is rare
Level 4 – can have significant impact on distribution system. Dairy farm with methane generation, wood pellet business with wood scrap generation
There are timeframes for various tasks in each level – i.e. receipt of application and provide status – five BD in ME; technical screening – 10 BD in ME.

## Slide 8
Study Results Meeting
  Utility and Applicant shall meet within 10 BD of study completion
  Report includes
    Results of study scope/analysis
    Cost of required upgrades (+/- 25%)
      Does not include any costs that may be required from i.3.9 process or other transmission studies that may be required
  Review results of study report
  Question and answer session for the customer
  Applicant has 15 BD from results meeting to state intent to proceed with subsequent study or Interconnection Agreement
  Modifications and cost sharing discussed on subsequent slides
Level 4 Application Process (cont’d)
Notes: ME
Level 1 – metering – no charge. If need transformer upgrade, customer pays.
Level 3 is rare
Level 4 – can have significant impact on distribution system. Dairy farm with methane generation, wood pellet business with wood scrap generation
There are timeframes for various tasks in each level – i.e. receipt of application and provide status – five BD in ME; technical screening – 10 BD in ME.

## Slide 9
Modifications under §12.D.1.a-d*
  Prior to the commencement of the Feasibility Study, a decrease** in the MW (AC) nameplate capacity of the Facility;
  Prior to the commencement of the Impact Study, an Applicant may consolidate the capacity of multiple Interconnection Requests for multiple Facilities if the following conditions are met:
    (i) the Facilities share common ownership; and
    (ii) the Facilities have directly dependent Queue Positions;
  At any time, an In-Kind Modification to the technical parameters associated with the ICGF’s technology, that does not increase the AC export capability of the ICGF;
  At or within fifteen (15) Business Days after the meeting between Applicant and T&D Utility to review results of either the Feasibility Study or the Impact Study, a one-time modification of the interconnection configuration as a result of the Feasibility Study or Impact Study results, including a decrease** in the MW (AC) nameplate capacity of the Facility.
* $500 non-refundable fee for modifications
** An increase in the MW (AC) nameplate capacity of the Facility is not permitted in any situation.
Modifications
Notes: ME
Level 1 – metering – no charge. If need transformer upgrade, customer pays.
Level 3 is rare
Level 4 – can have significant impact on distribution system. Dairy farm with methane generation, wood pellet business with wood scrap generation
There are timeframes for various tasks in each level – i.e. receipt of application and provide status – five BD in ME; technical screening – 10 BD in ME.

## Slide 10
Cost Sharing under §12.G
$200,000 triggering threshold (single component, not combined cost of all upgrades)
Proration based on capacity/distance used by projects
Cost sharing lasts until the earlier of:
  10 years from date of earliest affected interconnection customer’s IA
  Until capacity created by upgrade is used up
  Prorated amount of cost sharing is $100,000 or less
Cost sharing is mandatory unless generating capacity of facility is less than 250 kW
Concurrent projects not yet at COD must all pay for the full amount of upgrade
  Once COD is reached, prorated expense will be reconciled
Cost Sharing
Notes: ME
Level 1 – metering – no charge. If need transformer upgrade, customer pays.
Level 3 is rare
Level 4 – can have significant impact on distribution system. Dairy farm with methane generation, wood pellet business with wood scrap generation
There are timeframes for various tasks in each level – i.e. receipt of application and provide status – five BD in ME; technical screening – 10 BD in ME.

## Slide 11
GO or NO-GO determination follows
  If the developer decides to move forward with upgrades:
    Executable interconnection agreement (IA) provided with 10 BD of intent to proceed
    Applicant has 20 BD to sign
    Utility has 10 BD to countersign and return
    Per MPUC waiver, invoice generated and emailed to developer for payment upon I.3.9 approval from ISO-NE
      25% of total costs due within 90 BD. Remaining 75% due 90 BD after first payment.
      Project costs exceeding $500,000 will receive a payment schedule
    Field planner appointment established once invoice is paid (developer must attend)
  If developer decides not to proceed forward, CMP would invoice all costs up to that point with the developer
Interconnection Agreement (IA)
  Developer shall execute and return the IA within twenty (20) business days of receipt
  Project subject to:
    Cancellation/forfeiture of queue position for:
      Failure to execute IA within 20 business days
    IA termination for:
      Failure to make payment in accordance with Ch. 324 for required upgrades
  Per MPUC waiver, Utility good faith estimate of construction timelines required in the IA will be provided within 10 BD of I.3.9 approval from ISO-NE.
Level 4 Application Process (cont’d)
Notes: ME
Level 1 – metering – no charge. If need transformer upgrade, customer pays.
Level 3 is rare
Level 4 – can have significant impact on distribution system. Dairy farm with methane generation, wood pellet business with wood scrap generation
There are timeframes for various tasks in each level – i.e. receipt of application and provide status – five BD in ME; technical screening – 10 BD in ME.

## Slide 12
ISO-NE i.3.9
    CMP performs a transmission assessment on all interconnection requests; i.3.9 review is a separate review process
      Applies to all projects greater than 1MW
    ISO-NE is the final authority on what transmission study is required to receive the necessary i.3.9 approval
    Projects with completed studies are briefed at the NEPOOL Reliability Committee (RC)
      Meets on a monthly basis; recommends approval or disapproval to ISO-NE
    Process culminates in ISO-NE I.3.9 approval letter
    Permission to commercially operate with CMP will not be authorized until the project has received ISO-NE approval letter
ISO-NE i.3.9 Assessment
    Varying levels of study based on size of the project:
      Level 0: >1MW but <5MW individually or in aggregate with the projects before it
        No adverse impact
      Non-comprehensive Study: Projects exceeding 5 MW in aggregate with previous projects
        Require some form of short circuit and steady state or transfer analysis
      Level 3: Projects exceeding 5MW individually or 20 MW in aggregate with previous projects
        Require stability analysis
    Electric density of the area of interconnection may impact level of study: Aggregated study areas
ISO-NE i.3.9 Process
Notes: ME
Level 1 – metering – no charge. If need transformer upgrade, customer pays.
Level 3 is rare
Level 4 – can have significant impact on distribution system. Dairy farm with methane generation, wood pellet business with wood scrap generation
There are timeframes for various tasks in each level – i.e. receipt of application and provide status – five BD in ME; technical screening – 10 BD in ME.

## Slide 13
Questions?